## Page_13
0 | 1 | 2 | 3
Sample name | Oxygen saturation 48 h Oh mg/L % mg/L % |  | PH 48 h Oh
Control 1.25 mg/L 2.5 mg/L 5 mg/L 10 mg/L 20 mg /L | 8.3 98 8.5 99 8.3 98 8.4 98 8.3 98 8.5 99 8.2 97 8.4 98 8.3 98 8.5 99 8.3 98 8.4 98 |  | 8.36 8.09 8.05 8.36 8.04 8.35 8.33 8.00 8.23 7.93 7.73 8.20

## Page_14
0 | 1 | 2 | 3 | 4
Nominal concentration | Measured 3-Phenoxybenzoic acid
| Oh |  | 48 h
| Cone. | recovery | Cone. | recovery
controll | n.d |  | n.d.
1.25 mg/L | 1.19 mg/L | 95.4 % | 1.39 mg/L | 111 %
2.5 mg/L | 2.42 mg/L | 96.8 % | 2.69 mg/L | 107%
5.0 mg/L | 4.81 mg/L | 96.2 % | 5.25 mg/L | 105%
10.0 mg/L | * | * | 10.57 mg/L | 106%
20.0 mg/L | 18.86 mg/L | 94.3 % | 21.49 mg/L | 108%

## Page_15
0 | 1 | 2 | 3
Test item measured initial cone. [mg/L] | 24 h beaker beaker beaker beaker beaker 12 3 4 | 48 h beaker beaker beaker 12 3 4 | Sum (%)
Control 1.25 2.5 5.0 10 20 | 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 | 0 0 10 0 0 0 0 0 0 0 1 0 0 0 0 0 0 0 0 OOOO | 5 0 5 0 0 0

## Page_16
0 | 1
List of SOPs that were used in the studv
The Generalia-SOPs as well as the following SOPs were used:
SOP No. | Title (translated)
0-017/02 | Com puter use
V4 - 502/02 | Daphnia test, acute tox., Repro-test, D.-holding and breeding
V4 - 503/02 | Daphnia test, acute tox., Repro-test, prep, of test solutions
V4 - 505/02 | Daphnia test, aquat. tox., dilution water
V4 - 507/02 | Daphnia test, holding conditions
V4 - 509/02 | Daphnia test, acute immobilization, procedure

## Page_17
0 | 1
Item: | 3-Phenoxybenzoic acid
GLP-Code: | FEI-017/4-20
G3 - 004/02 | Scales, Calibration
G3 - 005/03 | Checking of volumetric apparatus
G3 - 006/03 | Checking of piston-operated pipettes
G3 - 007/02 | Checking of thermometers
G3 - 008/03 | Checking of coolers and freezers
G4 - 007/02 | Illuminance Meter, Minolta, operation
G4 - 302/02 | Aquatic Microcosms, Measurement of oxygen
G4 - 303/02 | WTW pH-Meter pH 196, operation, calibration
G7 - 025/02 | Rotavapor, use
G7-183/02 | Washing machine Miele with Aquapurificator, handling
G3-009/02 | Shaking machine
G7-189/01 | HPLC gradient pump P 680LPG
G7-241/03 | HPLC Diodearraydetector UVD-320S, 340S and 340U
G7-247/02 | HPLC autosampler ASI 100, use
12. | References
1) | OECD Guideline for Testing of Chemicals, Sect. 2: Effects on Biotic Systems, No.
202 "Daphnia sp., Acute Immobilization Test". Adopted April 13th 2004.
2) | Official Journal of the European Communities No. L383 A/172. C2: Acute Toxicity for
Daphnia (1992).
3) | Verordnung zum Schutz vor gefahrlichen Stoffen (Gefahrstoffverordnung-GefStoffV),
vom 26.10.1993, (BGBI. I S. 1782), in der Fassung der Vierten Verordnung zur

## Page_18
0 | 1
Study report: | Daphnia, Acute Immobilization Test
Test Item: | 3-Phenoxybenzoic acid
GLP-Code: | FEI-017/4-20
13. Annex 1: | Details of chemical analvsis
Details of chemical analvsis Annex 1:
13.1 Materials and instruments
HPLC conditions:
Dionex P580LPG HPLC pump:
Dionex ASI-100 Injector
Detector UVD 340S
Dionex Chromeleon Vers. 6.30 Software
Injection volume 25 Ml, 100 pl
40°C Column temperature
ODS Hypersil, 150x2.0 mm, 5 Mm, with Column
Precolumn
Wavelength 244 nm
0.1 % aqueous formic acid Eluent A:

## Page_19
0 | 1
MX) | VWL:244nrTi 1-3 PhenaKvtiertzoesaure - 4,117
JiV\U | VWU244nrri 1 - 3 Phenoaybenzoesaure - 3,946

## Page_20
0 | 1
I ' ' ' ' I

## Page_21
0 | 1
VvVL.-244nrr 1-3 Phenoxybenzoesaure- 4,058
11 I '

## Page_22
0 | 1
Study report: | Daphnia, Acute Immobilization Test
Test Item: | 3-Phenoxybenzoic acid
GLP-Code: | FEI-017/4-20
14. Annex 2: | Certificate of Analvsis of the test item
'-':./.'; '" .■V' .,-r.i' _.- 'yy :-■(. -.y ♦ Favorite Pf
v ■-;• •■.■■.'■■ ■fy.yy -_• -'-*"-<
Welcome Miriana Daniel! ¦ Not You? ¦ Login ¦ Your Profile ¦ Order Center ¦ Sea
FT
Sv | FT
SIGMA-:AL!DRICH | FT
Cer tif icateo: Analysis
Sp
Ce
3-Phenoxybenzoic acid,
Product Name | Ie
98%
Product Number | Mt 190276
Product Brand | Aldrich
CAS Number | 3739-38-6
Pi
Molecular. Formula | CAOCjH.CO^
Molecular Weight | 214.22
Pri
Bu
TEST | SPECIFICATION LOT07121EY RESULTS
As WHrrE POWDER OR FIBERS
APPEARANCE | SHINY WHITE FIBERS
AND/OR LUMPS
En
MELTING POINT | 148-149 DEGREES CELSIUS
CONFORMS TO STRUCTURE AND CONFORMS TO STRUCTURE AND
INFRARED SPECTRUM | Stai
STANDARD AS STANDARD AS
ILLUSTRATED ON PAGE 237D OF ILLUSTRATED ON PAGE 237D OF r EDITION I, EomoN I,
[Prt
VOt UME 2 OF "THE ALDRICH VOLUME 2 OF "THE ALDRICH
Adv LIBRARY OF FT-IR LIBRARY OF FT-IR
SPECTRA-. SPECTRA'. Sea
TITRATION | 97.5% - 102.5% (WITH NAOH) 100.3 % (WITH NAOH)
GAS LIQUID | 97.5% (MINIMUM) 99.9% Las
CHROMATOGRAPHY | IE

## Page_23
0 | 1 | 2
Angewandte Oekologie
Study report: | Daphnia, Acute Immobilization Test | page 23/24
Test Item: | 3-Phenoxybenzoic acid
GLP-Code: | FEI-017/4-20
15. Annex 3: | GLP-Certificate (2 pages)
vom 11. November- 13. November 2002 | on 11 until 13 November 2002
(Datum) | (date)
von der fiir die Uberwachung zustandigen Behorde | was (were) inspected by the competent authority
iiber die Einhaltung der Grundsatze der Guten | regarding compliance with the Principles of Good
Laborpraxis inspiziert worden ist. | Laboratory Practice.
Es wird hiermit bestatigt, dass folgende Prufungen in | It is hereby certified that following studies in this
dieser Prufeinrichtung nach den Grundsatzen der | test facility are conducted in compliance with the
Guten Laborpraxis durchgefuhrt werden. | Principles of Good Laboratory Practice.

## Page_24
0 | 1 | 2
Angewandte Oekologie
Study report: | Daphnia, Acute Immobilization Test | page 24/24 -
Test Item: | 3-Phenoxybenzoic acid
GLP-Code: | FEI-017/4-20
GLP-Certificate continued
I
Kategorie 1 | category 1
Prufungen zur Bestimmung der physikalisch- | physical-chemical testing
chemischen Eigenschaften und
Gehaltsbestimmungen
Kategorie 4 | category 4
Okotoxikologische Prufungen zur Bestimmung | environmental toxicity studies on aquatic and
der Auswirkungen auf aquatische und | terrestrial organisms
terrestrische Organismen
Kategorie 5 | category 5
Priifungen zum Verhalten im Boden, im Wasser | studies on behaviour in water, soil and air;
und in der Luft; Prufungen zur Bioakkumulation | bioaccumulation
und zur Metabolisierung
Kategorie 6 | category 6
Prufungen zur Bestimmung von Ruckstanden | residue studies
Kategorie 7 | category7
Priifungen zur Bestimmung der Auswirkungen | studies on effects on mesocosms and natural
auf Mesokosmen und naturliche Okosysteme | ecosystems
Kategorie 9 | category 9
Modell- und Simulationsrechnungen fur das | mathematical modelling and simulation ofthe
Verhalten von Stoffen in der Umwelt | environmental fate of chemicals